RESULTS OF DISTRICTS 2025

LEAD IN WATER TESTING

Of the Districts 139 applicable outlets tested, 19 sampled above the action level for lead.

16 were hand wash sinks that will be labeled as HAND WASH ONLY. 3 were in kitchen dish basins

That will be replaced. Attached is a list of the affected fixtures and their locations.

LEAD IN WATER REMEDIATION UPDATE UP DATE 9-23-2025

Actions taken to remediate outlets with above action level readings.

The following outlets were labeled “Hand Wash Only”

High School:

HS 163A, HS 166A, HS 159A, HS 148A

Middle School:

MS 105A, MS 105B, MS 112A, MS 125A, MS 169A, MS 162E

Elbridge Elementary:

EE 302B, EE 300B, EE 219A, EE 214A, EE 215A, EE 208A

The following outlets were replaced and retested (Test results already posted):

MS 125C, EE133B, EE 133C