RESULTS OF DISTRICTS 2025

LEAD IN WATER TESTING

Of the Districts 139 applicable outlets tested, 19 sampled above the action level for lead.

16 were hand wash sinks that will be labeled as HAND WASH ONLY. 3 were in kitchen dish basins

That will be replaced. Attached is a list of the affected fixtures and their locations.